## Protocol details
Protocol: Grignard et al. pfhrp2/3 multiplex real-time PCR assay
Version 1.4 (July 18, 2025)
Version | Date | Authors | Notes
1.0 | 2021-12-02 | Jonathan Parr, Ashenafi Assefa | Original protocol with input from Khalid Beshir.
1.1 | 2025-03-19 | Jonathan Parr, Kyaw Lay Thwai | Original protocol with additional QC, calling, and purchasing details.
1.2 | 2025-03-20 | J Parr, KL Thwai, A Assefa, I Gerdes Gyuricza | Additional calling annotation
1.3 | 2025-06-27 | J Parr, KL Thwai, A Assefa | Additional calling annotation (spurious amplification considerations, mixed infection calls)
1.4 | 2025-07-18 | J Parr, KL Thwai, A Assefa | Annotation about calling (positives, mixed)

## Conditions - 12uL
Multiplex hrp2/3 assay (Grignard et al. EBM 2020) |  |  |  | Cycling conditions |  |  | Primers & Probes
| 1x (ul) | Total Concentration |  | No. Cycles | Temp | Time | Pfhrp2_F1: | 5’ TAATTSCGYATTTAATAATAACTTGTG-‘3
pfhrp2 Fwd (20uM) | 0.12 | 200nM |  | 1 | 95C | 3 min | Pfhrp2_R2: | 5’- CATCATCTACATGTGCTGGAG -‘3
pfhrp2 Rev (20uM) | 0.12 | 200nM |  | 45 | 95C | 15 sec | Pfhrp2_probe: | FAM 5’-ATGCAAAAGGACTTAATTTAAATAAGAGATT-‘3 BHQ2
pfhrp2 probe (12uM) | 0.12 | 120nM | FAM |  | 54C | 30 sec
pfhrp3 Fwd (20uM) | 0.12 | 200nM |  |  | 72C | 30 sec | Pfhrp3_F2 : | ACGGATTTCATTTTAACCCTTCACGA
pfhrp3 Rev (20uM) | 0.12 | 200nM |  |  |  |  | Pfhrp3_R2 : | TGAGAATCATCAAAACAAGCATTAGC
pfhrp3 probe (12uM) | 0.12 | 120nM | HEX |  |  |  | Pfhrp3_probe : | HEX 5'- ACAATTCCCATACTTTACATCATGCA-'3 BHQ2
pfldh Fwd (12uM) | 0.12 | 120nM
pfldh Rev (12uM) | 0.12 | 120nM |  |  |  |  | Pfldh_F : | 5’-ACGATTTGGCTGGAGCAGAT-‘3
pfldh probe (8uM) | 0.12 | 080nM | TexRd |  |  |  | Pfldh_R : | 5’-TCTCTATTCCATTCTTTGTCACTCTTTC-‘3
HumBB Fwd (12uM) | 0.12 | 120nM |  |  |  |  | Pfldh_probe: | TexRd 5’-GTAATAGTAACAGCTGGATTTACCAAGGCCCCA-‘3 BHQ1
HumBB Rev (12uM) | 0.12 | 120nM
HumBB probe (8uM) | 0.12 | 080nM | CY5 |  |  |  | HumTuBB_F: | 5’-AAGGAGGTCGATGAGCAGAT-‘3
NH4 Buffer (10X) | 1.92 | 1.6X |  |  |  |  | HumTuBB_R: | 5’-GCTGTCTTGACATTGTTGGG-‘3
MgCl2 (50mM) | 0.96 | 4 mM |  |  |  |  | HumanTuBB_P : | CY5 5’-TTAACGTGCAGAACAAGAACAGCAGCT-‘3 BHQ2
dNTPs (10 mM) | 0.96 | 800uM | (Total, or 200uM each)
Biotaq Polymerase (5U/ul) | 0.192 | 0.96U |  |  |  |  | Machine: | Bio-Rad CFX384 Real-Time System
H2O | 4.528
DNA | 2
Total | 12

## Conditions - 25uL
Multiplex hrp2/3 assay (Grignard et al. EBM 2020) |  |  |  | Cycling conditions |  |  | Primers & Probes
| 1x (ul) | Total Concentration |  | No. Cycles | Temp | Time | Pfhrp2_F1: | 5’ TAATTSCGYATTTAATAATAACTTGTG-‘3
pfhrp2 Fwd (20uM) | 0.25 | 200nM |  | 1 | 95C | 3 min | Pfhrp2_R2: | 5’- CATCATCTACATGTGCTGGAG -‘3
pfhrp2 Rev (20uM) | 0.25 | 200nM |  | 45 | 95C | 15 sec | Pfhrp2_probe: | FAM 5’-ATGCAAAAGGACTTAATTTAAATAAGAGATT-‘3 BHQ2
pfhrp2 probe (12uM) | 0.25 | 120nM | FAM |  | 54C | 30 sec
pfhrp3 Fwd (20uM) | 0.25 | 200nM |  |  | 72C | 30 sec | Pfhrp3_F2 : | ACGGATTTCATTTTAACCCTTCACGA
pfhrp3 Rev (20uM) | 0.25 | 200nM |  |  |  |  | Pfhrp3_R2 : | TGAGAATCATCAAAACAAGCATTAGC
pfhrp3 probe (12uM) | 0.25 | 120nM | HEX |  |  |  | Pfhrp3_probe : | HEX 5'- ACAATTCCCATACTTTACATCATGCA-'3 BHQ2
pfldh Fwd (12uM) | 0.25 | 120nM
pfldh Rev (12uM) | 0.25 | 120nM |  |  |  |  | Pfldh_F : | 5’-ACGATTTGGCTGGAGCAGAT-‘3
pfldh probe (8uM) | 0.25 | 080nM | TexRd |  |  |  | Pfldh_R : | 5’-TCTCTATTCCATTCTTTGTCACTCTTTC-‘3
HumBB Fwd (12uM) | 0.25 | 120nM |  |  |  |  | Pfldh_probe: | TexRd 5’-GTAATAGTAACAGCTGGATTTACCAAGGCCCCA-‘3 BHQ1
HumBB Rev (12uM) | 0.25 | 120nM
HumBB probe (8uM) | 0.25 | 080nM | CY5 |  |  |  | HumTuBB_F: | 5’-AAGGAGGTCGATGAGCAGAT-‘3
NH4 Buffer (10X) | 4 | 1.6X |  |  |  |  | HumTuBB_R: | 5’-GCTGTCTTGACATTGTTGGG-‘3
MgCl2 (50mM) | 2 | 4 mM |  |  |  |  | HumanTuBB_P : | CY5 5’-TTAACGTGCAGAACAAGAACAGCAGCT-‘3 BHQ2
dNTPs (10 mM) | 2 | 800uM | (Total, or 200uM each)
Biotaq Polymerase (5U/ul) | 0.4 | 2U |  |  |  |  | Machine: | QuantStudio 6 Flex
H2O | 8.6
DNA | 5
Total | 25

## Quality control and calling
Quality control and data analysis for the multiplex hrp2/3 real-time PCR assay (Grignard et al. EBM 2020)
1. Look at NTCs, if any positive <35 cycles, then repeat
2. Look at positive controls.
a. 3D7 (or PfINT) should be hrp2+, hrp3+, ldh+, humBT+
b. DD2 should be hrp2-, hrp3+, ldh+, humBT-
c. HB3 should be hrp2+, hrp3-, ldh+, humBT-. Note that we have commonly observed spurious, low-fluorescence signal in the HB3 (hrp3-) control for the hrp3 (VIC) probe. If observed, then raise the threshold just above the spurious(plateau) signal compared to 3D7 and DD2.
3. Adjust thresholds to account for background.
a. Focus on the Texas Red (pfldh) results for the entire plate. Adjust the Texas Red (pfldh) probe threshold as needed so that it is above the background noise for cycles ≥15.
b. Focus on the Cy5 (human B-tubulin) results for the entire plate. Adjust the Cy5 (human B-tubulin) probe threshold as needed so that it is above the background noise for cycles ≥15.
4. Synchronize hrp2 and hrp3 thresholds. Focus on the 3D7 control, adjusting the parasite probe thresholds (hrp2, hrp3, ldh) as needed to achieve equivalent cycle numbers (+/- 0.5 cycles). This can be done when viewing amplification plots by unclicking the “auto” setting for a probe of interest and manually dragging the threshold up so that the Ct value is the same across probes. In most cases, you will need to adjust the hrp2 and ldh thresholds to be consistent with the hrp3 value.
5. Click analyze, or analyze data using your machine's controls.
Hrp2 and hrp3 deletion calling algorithm
Notes: a) Because the pfldh probe and others sometimes give late amplification that we believe to be spurious, we restrict all positive calls to those with <35 cycles. b) Any positive result occuring ≤15 cycles requires manual review. These are almost universally false positives (in most cases, Ct <15 corresponds to parasite densities that are not physiologically possible in human infection) and instead represent signal artifact that occurs commonly in many real-time PCR assays. c) To strengthen confidence in deletion calls, we often use a parasite density threshold of >100 p/ul using pfldh qPCR data generated in a separate reaction. We sometimes also perform a final, additional single-target assay to confirm sufficient Pf DNA is present (e.g. Pf-B-tubulin -- see Parr JB et al. Malar J. 2018 10.1186/s12936-018-2287-4).
6. Before looking at individual samples, look at all samples on the plate to identify and correct any spurious amplification (which can result in false-positive results). This can be done by highlighting all wells on the plate, then looking at each probe individually. First, look at Texas Red (pfldh) only. Take note of any curves that are not sigmoidal in shape as expected with normal exponential amplification. Manually correct the Ct value as needed (typically changing to "NA") before making calls in steps 7-11. Next, look at FAM (hrp2), and do the same thing. Finally, look at HEX (hrp3), and do the same thing. It is not uncommon to observe 1-2 examples of spurious amplification on a plate that require manual correction. Observing many (>10) samples with spurious amplification usually means the entire plate needs to be repeated.
7. Focus on the Cy5 (human B-tubulin) result. If positive, then proceed to step 8. If negative, then call "Human DNA degraded - manual review required". Stop. (Exception: This step should be omitted if evaluating cultured parasites; these samples typically do not have human DNA).
8. Focus on the Texas Red (pfldh) result. If positive at ≤35 cycles, proceed to step 9. If negative or >35 cycles, then call "Invalid - insufficient parasite DNA". Stop.
9. Focus on the FAM (hrp2) result. If positive with Ct <35, then call "hrp2 positive". If negative, then call "hrp2 deletion". Note: It is important to consider the following two scenarios for all samples: a) If positive but >3 cycles greater than Texas Red (pfldh) and Ct <40, then call "Possible hrp2 deletion mixed infection - manual review required". b) If positive but Ct is between 35 and 40, then call "Possible hrp2 deletion - manual review required." (Any Ct values >40 are considered negative and not evaluated for either scenario.) Proceed to step 10. Manual review requires looking at the amplification curves with an expert user to decide if a hrp2 deletion truly exists or if there is evidence of a mixed infection of deleted and wild-type strains. Examples: a) If the curves show appropriate amplification, pfldh Ct=34 and pfhrp2 Ct=35.5, then we would call this parasite hrp2+. b) If the curves show appropriate amplification, pfldh Ct=30 and pfhrp2 Ct=38, then we would call "hrp2 deletion mixed infection" because we see evidence of infection by two P. falciparum strains, one with hrp2 deletion and one with intact/wild-type hrp2.
10. Focus on the HEX (hrp3) result. If positive with Ct <35, then call "hrp3 positive". If negative, then call "hrp3 deletion". Note: It is important to consider the following two scenarios for all samples: a) If positive but Ct is between 35 and 40, then call "Possible hrp3 deletion - manual review required." b) If positive but >3 cycles greater than Texas Red (pfldh) and Ct<40, then call "Possible hrp3 deletion mixed infection - manual review required". (Any Ct values >40 are considered negative and not evaluated for either scenario.) Proceed to step 11. Manual review requires looking at the amplification curves with an expert user to decide if a hrp3 deletion truly exists or if there is evidence of a mixed infection of deleted and wild-type strains. Examples: a) If the curves show appropriate amplification, pfldh Ct=34 and pfhrp3 Ct=35.5, then we would call this parasite hrp3+. b) If the curves show appropriate amplification, pfldh Ct=30 and pfhrp3 Ct=38, then we would call "hrp3 deletion mixed infection" because we see evidence of infection by two P. falciparum strains, one with hrp2 deletion and one with intact/wild-type hrp3.
11. Review all "manual review required" samples with Dr. Parr or another expert/trained lab member to make a consensus call.

## Ordering - 2021 version
Date: | 2021-12-20
Purpose | Reagent requirements for molecular confirmation of pfhrp2/3 deletions using real-time PCR
For
Compiled by | Kyaw Thwai, Ashenafi Assefa, Oksana Kharabora, Jonathan Parr
Quantity | 4800 | (2,000 samples in duplicate, plus ~20% extra for controls and repeats)
Purpose | Name | quantity per unit ordered | ul per quantity | total (ul or packages) | Reference code | Total required | Total to order | Company | Purchasing link | Notes | Notes_2
pfldh qPCR | FastStart Universal Probe Master (Rox) | 10 | 5000 | 50000 | 4914058001 | 0.6 | 1 | Sigma Aldrich | https://www.sigmaaldrich.com/US/en/product/roche/fsupmmro |  | Singleton (quantitative PCR). Used to determine parasite density. We do not make deletion calls in low density samples with <100 parasites/µL.
pfldh qPCR | pfldh-q probe (250nM scale, HPLC purified) | 1 |  | 113 | custom | 1.0619 | 2 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-probes | 5'-FAM-AGTAATAGTAACAGCTGGATTTACCAAGGCCCCA-TAMRA-3' | Singleton (quantitative PCR). Used to determine parasite density. We do not make deletion calls in low density samples with <100 parasites/µL.
hrp2/3 multiplex real-time PCR | Biotaq Polymerase (5U/ul) | 20 | 100 | 2000 | BIO-21060-4 | 0.96 | 1 | Fisher Scientific | https://www.thomassci.com/Chemicals/PCR-Reagents/_/BIOTAQ-DNA-Polymerase |  | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | NH4 Buffer (10X) | 2 | 1200 | 2400 | (comes with Biotaq) |  | 0 | Fisher Scientific | https://www.thomassci.com/Chemicals/PCR-Reagents/_/BIOTAQ-DNA-Polymerase | Comes with Biotaq polymerase | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | MgCl2 (50mM) | 1 | 1200 | 1200 | (comes with Biotaq) |  | 0 | Fisher Scientific | https://www.thomassci.com/Chemicals/PCR-Reagents/_/BIOTAQ-DNA-Polymerase | Comes with Biotaq polymerase | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | dNTPs | 10 | 1000 | 10000 | BIO-39053 (DNTP-M10-10) | 0.96 | 1 | Fisher Scientific | https://www.thomassci.com/Molecular-Diagnostics/Amplification/dNTP/_/dNTP-Mix?q=BIO-39053 |  | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | pfhrp2 Fwd (25-100nM scale, salt-free) | 1 |  | 757 | custom | 0.31704 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5’-TAATTSCGYATTTAATAATAACTTGTG-‘3 | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | pfhrp2 Rev (25-100nM scale, salt-free) | 1 |  | 714 | custom | 0.33613 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5’-CATCATCTACATGTGCTGGAG-‘3 | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | pfhrp2 probe (250nM scale, HPLC purified) | 1 |  | 302 | custom | 0.47682 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-probes | 5'-FAM-ATGCAAAAGGACTTAATTTAAATAAGAGATT-BHQ2-3' | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | pfhrp3 Fwd (25-100nM scale, salt-free) | 1 |  | 1041 | custom | 0.23055 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5'-ACGGATTTCATTTTAACCCTTCACGA-3' | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | pfhrp3 Rev (25-100nM scale, salt-free) | 1 |  | 1069 | custom | 0.22451 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5'-TGAGAATCATCAAAACAAGCATTAGC-3' | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | pfhrp3 probe (250nM scale, HPLC purified) | 1 |  | 608 | custom | 0.23684 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-probes | 5'-HEX-ACAATTCCCATACTTTACATCATGCA-BHQ2-3' | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
pfldh qPCR and hrp2/3 multiplex real-time PCR | pfldh Fwd (25-100nM scale, salt-free) | 1 |  | 888 | custom | 0.32432 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5’-ACGATTTGGCTGGAGCAGAT-3' | [Used for pfldh qPCR in singleton, hrp2/3 multiplex in duplicate.] Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR.
pfldh qPCR and hrp2/3 multiplex real-time PCR | pfldh Rev (25-100nM scale, salt-free) | 1 |  | 1023 | custom | 0.28152 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5’-TCTCTATTCCATTCTTTGTCACTCTTTC-3' | [Used for pfldh qPCR in singleton, hrp2/3 multiplex in duplicate.] Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR.
hrp2/3 multiplex real-time PCR | pfldh probe (250nM scale, HPLC purified) | 1 |  | 113 | custom | 0.84956 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-probes | 5'-TexRd-GTAATAGTAACAGCTGGATTTACCAAGGCCCCA-BHQ1-3' | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR.
hrp2/3 multiplex real-time PCR | HumBB Fwd (25-100nM scale, salt-free) | 1 |  | 849 | custom | 0.16961 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5’-AAGGAGGTCGATGAGCAGAT-3' | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | HumBB Rev (25-100nM scale, salt-free) | 1 |  | 711 | custom | 0.20253 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5’-GCTGTCTTGACATTGTTGGG-3' | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
hrp2/3 multiplex real-time PCR | HumBB probe (250nM scale, HPLC purified) | 1 |  | 400 | custom | 0.24 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-probes | 5'-CY5-TTAACGTGCAGAACAAGAACAGCAGCT-BHQ2-3' | Duplicate. Total number of reactions can be reduced if only run in duplicate for any hrp2- or hrp3- negative samples identified during initial multiplex PCR
confirmatory PfBt real-time PCR | FastStart Universal SYBR Green Master (Rox) | 5 | 5000 | 25000 | 4913914001 | 1.2 | 1 | Sigma Aldrich | https://www.sigmaaldrich.com/US/en/product/roche/fsusgmmro | Fast Start Universal Probe Master (Rox). | PfBtub run in singleton (confirmatory). Total number of reactions will be smaller, performed on any hrp2- or hrp3- negative samples identified during multiplex PCR
confirmatory PfBt real-time PCR | PfBtub Fwd (25-100nM scale, salt-free) | 1 |  | 500 | custom | 0.48 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5'-AATAAATCATAATGATGTGCGCAAGTGATCC-3' | PfBtub run in singleton (confirmatory). Total number of reactions will be smaller, performed on any hrp2- or hrp3- negative samples identified during multiplex PCR
confirmatory PfBt real-time PCR | PfBtub Rev (25-100nM scale, salt-free) | 1 |  | 500 | custom | 0.48 | 1 | IDT | https://www.idtdna.com/pages/products/qpcr-and-pcr/custom-primers | 5'-AATAAATCATAATCCTTTGTGGACATTCTTCCTC-3' | PfBtub run in singleton (confirmatory). Total number of reactions will be smaller, performed on any hrp2- or hrp3- negative samples identified during multiplex PCR
hrp2/3 multiplex real-time PCR | 96-well optical PCR plates (0.2mL) | 20 | 1 | 20 | 43-067-37 | 2.5 | 5 | Fisher Scientific | https://www.fishersci.com/shop/products/applied-biosystems-microamp-optical-96-well-reaction-plate-barcode-4/4306737?searchHijack=true&searchTerm=43-067-37&searchType=RAPID&matchedCatNo=43-067-37
confirmatory PfBt real-time PCR | 96-well optical PCR plates (0.2mL) | 20 | 1 | 20 | 43-067-37 | 1.25 | 0 | Fisher Scientific | https://www.fishersci.com/shop/products/applied-biosystems-microamp-optical-96-well-reaction-plate-barcode-4/4306737?searchHijack=true&searchTerm=43-067-37&searchType=RAPID&matchedCatNo=43-067-37
pfldh qPCR | 96-well optical PCR plates (0.2mL) | 20 | 1 | 20 | 43-067-37 | 1.25 | 0 | Fisher Scientific | https://www.fishersci.com/shop/products/applied-biosystems-microamp-optical-96-well-reaction-plate-barcode-4/4306737?searchHijack=true&searchTerm=43-067-37&searchType=RAPID&matchedCatNo=43-067-37
all | Control: PfINT international standard |  |  |  | 04/176 |  | 1 | NIBSC | https://www.nibsc.org/products/brm_product_catalogue/detail_page.aspx?catid=04/176 | hrp2+/3+ DNA control (preferred)
all | Control: 3D7 genomic DNA |  |  |  | MRA-151G,102G |  | 1 | BEI | https://www.beiresources.org/Catalog/BEINucleicAcids/MRA-102G.aspx | (Alternative hrp2+/3+ DNA control if PfINT not available)
all | Control: DD2 genomic DNA |  |  |  | MRA-150G, 156G |  | 1 | BEI | https://www.beiresources.org/Catalog/BEINucleicAcids/MRA-150G.aspx | hrp2-/3+ DNA control
all | Control: HB3 genomic DNA |  |  |  | MRA-155G |  | 1 | BEI | https://www.beiresources.org/Catalog/BEINucleicAcids/MRA-155G.aspx | hrp2+/3- DNA control
all | Optical plate covers (ABI) |  |  |  | 4311971 |  | 1 | Fisher Scientific | https://www.thermofisher.com/order/catalog/product/4311971
all | Molecular grade water (500mL) | 6 | 500 | 3000 | MT46000CV | 1 | 1 | Fisher Scientific | https://www.fishersci.com/shop/products/cellgro-67/MT46000CV?searchHijack=true&searchTerm=MT46000CV&searchType=RAPID&matchedCatNo=MT46000CV
all | Buffer EB (250 ml) | 1 | 250 | 250 | Cat. No. / ID: 19086 | 1 | 1 | QIAGEN | https://www.qiagen.com/us/products/discovery-and-translational-research/lab-essentials/buffers-reagents/buffer-eb/ | For resuspending primers
all | TE Buffer, Tris-EDTA, 1X Solution | 1 | 100 | 100 | BP2473100 | 1 | 1 | Fisher Scientific | https://www.fishersci.com/shop/products/tris-edta-1x-solution-ph-8-0-molecular-biology-fisher-bioreagents-3/BP2473100?searchHijack=true&searchTerm=BP2473100&searchType=RAPID&matchedCatNo=BP2473100 | For resuspending probes
DNA extraction | DNA storage plates (LoBind preferred) | 25 | 1 | 25 | E0030129504 | 1 | 1 | Fisher Scientific | https://www.fishersci.com/shop/products/eppendorf-twin-tec-96-lobind-pcr-plates-1/E0030129504?searchHijack=true&searchTerm=0030129.504&searchType=RAPID&matchedCatNo=0030129.504 | For storage of eluted DNA
DNA extraction | Plate seals (foil) | 100 | 1 | 100 | 12-156 | 1 | 1 | Genesee | https://geneseesci.com/shop-online/product-details/12-156/extreme-foilseal | For storage of eluted DNA
DNA extraction | Chelex/Tween or QIAGEN |  |  |  | [recipient to source] |  |  | [recipient to source] | [recipient to source] | Either DNA extraction method is fine
all | Pipette tips |  |  |  | [recipient to source] |  |  | [recipient to source] | [recipient to source]
Note on G21: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume a separate assay for pfb_tublin
Note on G22: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume a separate assay for pfb_tublin
Note on G23: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Assume a separate assay for pfb_tublin